| TR-WM-143 (4/23) | FOR OFFICE USE ONLY |
| --- | --- |
|  | Wisconsin Department of Agriculture, Trade and Consumer Protection Bureau of Weights and Measures P.O. Box 7837, Madison, WI 53707-7837 (608) 224-4942 | Transaction#: |
|  |  | Site #: |
|  |  | Facility #: |
| WISCONSIN TELECOMMUNICATION TOWER GENERATOR FUEL SUPPLY TANK ABOVEGROUND INSTALLATION APPLICATION | Wis. Admin. Code §ATCP 93.100 |

INSTRUCTIONS: Fill in ALL applicable data.  Failure to complete the form entirely may cause additional delay. Submit this form with three sets of plans which include details and data as required by ATCP 93.100, along with the required fees made payable to DATCP at the address above.  Personal information you provide may be used for purposes other than that for which it was originally collected (s. 15.04(1)(m) Wis. Stats.). Submit form to: DATCPplanreview@wisconsin.gov.

| OWNER INFORMATION |
| --- |
| NAME | TELEPHONE ( ) - | CELL PHONE ( ) - |
| COMPANY NAME | CONTACT PERSON | E-MAIL |
| STREET ADDRESS | CITY | STATE | ZIP |
| PROJECT INFORMATION |
| FACILITY NAME | FIRE DEPT PROVIDING FIRE COVERAGE FDID # |
| GPS LATITUDE |  | GPS LONGITUDE |  |
| STREET ADDRESS | CITY | STATE | ZIP |
| PREVIOUS OWNER’S NAME | LICENSE NUMBER |
| SUBMITTER INFORMATION |
| SUBMITTING PARTY | CONTACT PERSON |
| TELEPHONE ( ) - | CELL PHONE ( ) - | E-MAIL |
| STREET ADDRESS | CITY | STATE | ZIP |
| TANK LOCATION: | Inside bldg. | Outside bldg. | TANK TYPE: | Single wall | Double wall | TANK ON CONCRETE PAD: | Yes | No |
| SPECIFICATIONS: |
| Manufacturer: |
| Capacity (Gallons): |
| Tank leak detection: | Continuous electronic interstitial monitoring | Distance from NR 811 regulated well is 600 ft. or greater: | Yes | No |
|  |  | Distance from NR 812 regulated well is 50 ft. or greater: | Yes | No |
|  | Other: |  | Distance from NR 811 regulated well is 1200 ft. or greater: | Yes | No |
|  |  | Distance from NR 812 regulated well is 100 ft. or greater: | Yes | No |
| Tank is 5 ft. or more from the property line: | Yes | No | Tank is 5 ft. or more from the equipment building: | Yes | No |
| Building construction: | Concrete or block | Pebble finish fiberglass | 1” concrete exterior panels | Other: |  |
| Fee: (Fee table on reverse side) |  | Plan Examination | Install Inspection | Subtotal |
| Tank/Pipe System Installation |  | $ | (7636) | $ | (8253) | $ |  |
| REVISION Previous Approved Plan # |  | $ | (7636) |  |  | $ |  |
|  |  |  |  |  |  | $ | (7637) |
|  |  |  |  | TOTAL FEE: | $ |  |

| I certify by signature that we will comply with all required provisions of the current Flammable and Combustible Liquids Code, and all required well setbacks (DNR), listed or not listed on this document |
| --- |
| SIGNATURE | TITLE | DATE |

| Application packet to include three (3) copies of: | TR-WM-143 (this form). | Diagram of standard/typical (model specific) generator fuel supply tank. |
| --- | --- | --- |
|  | Diagram of building if tank located within the building. | Diagram of telecommunications plot with standard/typical layout. |
| TR-WM-143 (4/23) |

Plan review and installation inspection fees

| Plan review performed by authorized agent (refer to link below): https://datcp.wi.gov/Pages/Programs_Services/PetroleumHazStorageTanksOwnerOperatorResources.aspx | Local program operator will charge a fee that must be at least equal to the state fee minus the groundwater fee. |
| --- | --- |
| Any one or more tanks within the system being reviewed having a capacity of 5,000 gallons or larger | The following fees must be submitted with the plan review application for all aboveground tank systems within the scope of this program letter and ATCP 93.100, plus the groundwater fee. |
| Tank System Category | Plan Review | Installation Inspection Fee | Plan Revision Fee | Tank System Category |
| Aggregate capacity 5,000 gallons through 48,000 gallons capacity | $125 | $250 | $100 | $100 |

ATCP 93.1605(2) GROUNDWATER FEE.  Pursuant to s. 168.23 (5), Stats., in addition to any fee charged by the department by rule for plan review and approval for the construction of a new or additional installation or change in operation of a previously approved installation for the storage, handling or use of flammable, combustible or hazardous liquids, the department shall collect a groundwater fee of $100 for each plan review submittal.  The moneys collected under this subsection shall be credited to the environmental fund for environmental management.

Note #1:  The groundwater fee is collected on all plans reviewed by DATCP and the City of Milwaukee.

Note #2:  In accordance with s. 168.23 (5) (b), Stats., an installation that has a capacity of less than 1,000 gallons is not subject to the groundwater fee.

(3) REINSPECTION FEES.  The contractor shall pay the reinspection fee to the authorized agent for any of the following reasons that require the authorized agent to make a return trip, or to reschedule a trip because the authorized agent has not been notified at least 24 hours in advance:

(a) Failure to have the tank system accessible for inspection on the date and time specified for inspection.

(b) Installation inspection points that are incomplete on the date and time specified for inspection.

(c) Failure to correct deficiencies by the date and time specified for inspection.

Note: Charge and payment of reinspection fee must be supported by invoice from the respective designated inspecting agency.

ATCP 93.1605(1m) LATE FEES.  The plan examination fees specified in this chapter shall be doubled for projects where the installation, erection or construction was initiated without the required departmental approval.