| TR-WM-130 (4/23) Formerly ERS-6294 POS | FOR OFFICE USE ONLY |
| --- | --- |
|  | Wisconsin Department of Agriculture, Trade and Consumer Protection Bureau of Weights and Measures P.O. Box 7837, Madison, WI 53707-7837 (608) 224-4942 Wis. Admin. Code §ATCP 93.100 and 93.110 |  |
| POINT-OF-SALE FUELING INSTALLATION NOTIFICATION Personal information you provide may be used for purposes other than that for which it was originally collected (s. 15.04(1)(m) Wis. Stats.). |
| Dispenser conversion only - The Checklist for Point-Of-Sale (POS) Fueling Installation is to be completed by the contractor performing the conversion or initial installation at least 10 days prior to the conversion and submitted, along with the fee, to the authorized agent or department for approval. Upon approval, complete and submit the reviewed form to the inspector prior to the installation inspection. Submit form to: DATCPplanreview@wisconsin.gov. New/upgraded systems - The Checklist for Point-Of-Sale (POS) Fueling Installation shall be completed and submitted along with the tank/pipe plan review application for newly installed or upgraded storage tank systems providing POS dispensing. Submit form to: DATCPplanreview@wisconsin.gov. |

| This checklist covers installation of: | Key Control System | Card Control System | Code Control System |
| --- | --- | --- | --- |
| Automated Fueling is: | ATTENDED | UNATTENDED | UNMANNED | → | PUBLIC FUELING | FLEET FUELING |
| Equipment ID: |  |  |  |  |  |  |  |  |  |

| IDENTIFICATION: (Please Print) |
| --- |
| OWNER NAME | EMAIL | TELEPHONE ( ) - | COUNTY |
| STREET ADDRESS | CITY VILLAGE TOWN | STATE | ZIP |
| FACILITY NAME | FACILITY ID # | COUNTY |
| FACILTIY STREET ADDRESS (not PO Box) | CITY VILLAGE TOWN | STATE | ZIP |

| PLAN APPROVAL | Installer Verified | Inspector Verified | N/A |
| --- | --- | --- | --- |
| Plans have been submitted and approved. |  |  |  |
| DATCP / LPO plan number: |  |  |  |  |

| EMERGENCY CONTROL INSTALLATION | Installer Verified | Inspector Verified | N/A |
| --- | --- | --- | --- |
| Dispensing devices are listed. |  |  |  |
| Listed, automatic-closing-type nozzles with latch-open devices installed. |  |  |  |
| Emergency controls are installed more than 20 ft. but less than 100 ft. from each group of dispensers. |  |  |  |
| Emergency controls are functional and of the manual reset type. |  |  |  |
| Instructions posted for emergency conditions (Use emergency stop button and report emergency). |  |  |  |
| Operating instructions are conspicuously posted in the dispensing area. |  |  |  |
| Marina applications will have attendant on duty at all times when POS dispensing is offered. |  |  |  |
| Unattended: Dispenser/submersible shut down or Alarm to facility staffed 24/7 |  |  |  |
| All new or replacement dispensing devices for Class I liquids have been provided with a double-poppet, heat-actuated emergency shut-off valve. |  |  |  |

| INSTALLER CERTIFICATION INSTALLER CERTIFICATION |
| --- |
| OWNER NAME | STREET ADDRESS | CITY | STATE | ZIP |
| TELEPHONE ( ) - | CERTIFIED INSTALLER NAME (print) | EMAIL | INSTALLER CERTIFICATION NO. |
| I certify that the automated fueling system and related components have been installed according to the manufacturer’s instructions, conditionally approved plans, and comply with ATCP 93. |
| Installer Signature: | Date Signed: |

| INSPECTOR INFORMATION INSTALLER CERTIFICATION |
| --- |
| INSPECTION DATES: |  |  |  |  |  |  |
| INSPECTION COMPANY NAME: |  | COMPANY NUMBER: |  |
| INSPECTOR SIGNATURE: |  | INSPECTOR #: |  | LOCAL OPERATOR #: |  |
| DATE SIGNED: |  | FIRE DEPARTMENT PROVIDING COVERAGE: |  | FDID #: |  |

F. In the space provided, complete a drawing of the POS dispensing system. In the drawing, include all dispensers, islands, buildings, location of emergency controls, and location of telephone or communication device. All drawings must include and identify at least one roadway.

G. COMMENTS:

| Fee for conversion of existing dispenser(s) (If independent of tank/pipe installation submittal) Conversion of existing system to a point of sale type of dispensing system | Plan Review Fee | Installation Inspection Fee | Plan Revision Fee | Re-inspection Fee |
| --- | --- | --- | --- | --- |
|  | $35 | $100 | $100 | $100 |

This document can be made available in alternate formats to individuals with disabilities upon request.